## Untitled1
Motzz Laboratory Inc
3540 E Corona Ave, Phoenix AZ 85040
Group Analysis Summary
Group Analysis: | Wastewater
Group Cost: | 0
Date: | 10/4/2025
Analyte | Method | Units | Analyte Cost
Aluminum, Al | 6010B | mg/L | 25
Ammonia-Nitrogen, NH4-N
Ash, % |  | % | 25
Biochemical Oxygen Demand, BOD |  | mg/L | 50
Boron, B | ICP | ppm
Calcium, Ca
Chemical Oxygen Demand, COD | HACH | mg/L | 40
Chloride, Cl | 9251 | mg/L | 30
Chromium, Cr |  | ppm
Copper, Cu | 6010B | mg/L | 25
Dry Matter
Hydroxide, OH | Calculated | % | 25
Iron, Fe | 6010B | mg/L | 25
Magnesium, Mg
Manganese, Mn
Moisture |  |  | 15
Nickel, Ni |  | ppm | 25
Nitrate-N, NO3-N | 353.2 | mg/L | 25
Nitrogen |  |  | 18
Normality, N | Titrimetric | N | 25
Organic Nitrogen |  |  | 25
pH |  |  | 15
Phosphorus, P
Potassium, K
SAR | Calculated
Sodium Dicromate, Na2Cr2O7 | Calculated | % by Weight | 65
Sodium, Na | 6010B | mg/L | 25
Soluble Salts | 120.1 | ppm | 15
Sulfate, SO4 |  | % | 25
Sulfur, S
Total Dissolved Solids, TDS | Electrode | mg/L | 25
Total Nitrogen, N
Total Phosphorus, P
Total Phosphorus, P2O5 | Calculated
Total Potassium, K |  | %
Total Potassium, K2O | Calculated
Total Solubility | Gravimetric | mg/L | 50
Total Suspended Solids, TSS | Gravimetric | mg/L | 25
Zinc, Zn | 6010B | mg/L | 25
Hydrochloric Acid, HCl | 9251 | ppm | 55
Nitric Acid Content | 353.4 | % | 55
Phosphoric Acid, H3PO4 | 200.7 | ppm | 55
Sulfuric Acid Content | ASTM E223-08 | % by Weight | 60